## Sheet1
Date: | 2010-06-03 |  | Time:
Duration: |  |  | Incident Number: |  | MS-004
Description of the Incident
Communications to the WAN were unavailable. Connections to the local file server were interrupted. Folder Redirection failure, Email Failure, ERA Failure.
Reason/Cause
Contracted Electrician (organised by Kia) removed power from critical communications systems and did not restore these connections.
Corrective Action taken to Resolve the problem
Field Support Officer was sent to sight to restore power connections to network devices and ensure patching still correct.
Steps taken to reduce the chance of a recurrence
Ensured UPS was still valid and urged Manager to ensure contractees do not touch IT equipment.
Any on-going actions required as a result
Form completed By: |  | Michael Spence
Follow-up:-
Report back to:
Incident closed By: |  | Michael Spence |  | Date: | 2010-07-13
Attachments: