## Sheet1
Date: | 2010-07-08 |  | Time: | 3:45pm
Duration: | 18hrs |  | Incident Number: |  | MS-007
Description of the Incident
Server TTRFS was unavailable. Folder redirection and File Shares were offline.
Reason/Cause
Power was disconnected from the Server and hence was not powered on. This occurred during minor maintenance and moving of equipment at this site.
Corrective Action taken to Resolve the problem
Sent Field Officer to site to check the power connection to the server.
Steps taken to reduce the chance of a recurrence
Have instructed Field Officers to be more careful and to check that all systems are running before leaving a site during operations such as this.
Any on-going actions required as a result
Form completed By: |  | Michael Spence
Follow-up:-
Report back to:
Incident closed By: |  | Michael Spence |  | Date: | 2010-07-13
Attachments: